Table S1. The main parameters for MS-Dial used to process the dataset in this study.

| Parameter items | Parameter value |
| --- | --- |
| MS1 tolerance | 0.002 |
| Minimum peak width (scan) | 5 |
| Minimum peak height (amplitude) | 1,000 |
| Mass slice width (Da) | 0.1 |
| Sigma window value | 0.5 |
| N% detected in at least one group | 80 |

Table S2. The main parameters for MZmine used to process the dataset in this study.

| Parameter items | Parameter value |
| --- | --- |
| mzdiff | 0.01 |
| feature detection | centWave |
| prefilter intensity | 100 |
| bw | 5 |
| minfrac | 0.5 |
| Noise filtera | 0 |
| mzwid | 0.002 |

| Table S3. The storage format of the original metabolome mass spectrum peak data of group A samples in the sub-table “Ion distribution frequency” of table “Screen 50%-ions and 80%-ions of group A”. |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Q | R | S | T | U | V | W | X | Y | Z | X |
| Sample | RT | RT&m/z | m/z | Intensity |  | Sample | RT | RT&m/z | m/z | Intensity |
| B11 | 2 | 2191.0191 | 191.0191 | 199850400 |  | B12 | 2 | 2191.0193 | 191.0193 | 263609168 |
| B11 | 2 | 2133.013 | 133.013 | 97691736 |  | B12 | 2 | 2133.0131 | 133.0131 | 95780192 |
| Data in columns Q–X, the corresponding data actually stored in columns Q–X in Excel; B11 and B12, the code of the first two samples in sample group A; RT, the retention time period of the corresponding ions. |  |  |  |  |  |  |  |  |  |  |

| Table S4. Partial data in columns A–H in “Ion distribution frequency” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A | B | C | D | E | F | J | H |
| sample | RT | RT&m/z | m/z |  | B11 | B12 | B13 |
| B11 | 2 | 2191.019 | 191.0191 |  | 199850400 | 263609168 | 97521296 |
| B11 | 2 | 2133.013 | 133.013 |  | 97691736 | 95780192 | 49799408 |
| B11 | 2 | 2377.086 | 377.0863 |  | 93077328 | 24648734 | 19404814 |
| B11 | 2 | 2388.039 | 388.0385 |  | 65287576 | 1386305.4 | 594264256 |
| B11 | 2 | 2436.042 | 436.0418 |  | 46817088 | 924253.8 | 10490819 |
| B11 | 2 | 2379.083 | 379.0829 |  | 29050482 | 7320104 | 5946936.5 |
| B11 | 2 | 2387.115 | 387.1152 |  | 18370674 | 48269912 | 26143554 |
| B11 | 2 | 2341.109 | 341.1094 |  | 15779216 | 51243652 | 28793840 |
| B11 | 2 | 2439.076 | 439.0762 |  | 14767779 | 20361876 | 25023684 |
| B11 | 2 | 2165.04 | 165.0395 |  | 14701896 | 14865218 | 15678931 |
| Data in columns A–H, the corresponding data actually stored in columns A–H in Excel; Data in F, J and H columns, the corresponding ion intensity of samples B11, B12 and B13 in sample group A; RT, the retention time period of the corresponding ions. |  |  |  |  |  |  |  |

| Table S5. Partial data in columns C–Y in “50%-ions-1” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| C | D | E | F | G–V | W | X | Y |
| RT&m/z | m/z | Average ion intensity | Ion count |  | B11 | B12 | B13 |
| 2191.0191 | 191.0191 | 192791181.6 | 10 |  | 199850400 | 263609168 | 97521296 |
| 2133.01298 | 133.01298 | 76715062.8 | 10 |  | 97691736 | 95780192 | 49799408 |
| 2377.08626 | 377.08626 | 27693533.3 | 10 |  | 93077328 | 24648734 | 19404814 |
| 2388.03854 | 388.03854 | 257044947.6 | 10 |  | 65287576 | 1386305.4 | 594264256 |
| 2436.04182 | 436.04182 | 8437985.85 | 10 |  | 46817088 | 924253.8 | 10490819 |
| 2379.0829 | 379.0829 | 8460423.85 | 10 |  | 29050482 | 7320104 | 5946936.5 |
| 2387.11521 | 387.11521 | 34364052.8 | 10 |  | 18370674 | 48269912 | 26143554 |
| 2341.10938 | 341.10938 | 30506079.6 | 10 |  | 15779216 | 51243652 | 28793840 |
| 2439.0762 | 439.0762 | 25084770.8 | 10 |  | 14767779 | 20361876 | 25023684 |
| 2165.03951 | 165.03951 | 17600173 | 10 |  | 14701896 | 14865218 | 15678931 |
| Data in columns C–Y, the corresponding data actually stored in columns C–Y in Excel; Data in columns W, X and T, the corresponding ion intensity of samples B11, B12 and B13 in sample group A; G–V, data of the other following step is not shown here; RT, the retention time period of the corresponding ions. |  |  |  |  |  |  |  |

| Table S6. Partial data in columns H–O of “50%-ions-1” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| H | I | J | K | L | M | N | O |
| RT&m/z | Number |  | sample | RT | RT&m/z | m/z | Lookup |
| 2191.0191 | 1 |  | B11 | 2 | 2191.0191 | 191.0191 | 1 |
| 2133.01298 | 2 |  | B11 | 2 | 2133.01298 | 133.01298 | 2 |
| 2377.08626 | 3 |  | B11 | 2 | 2377.08626 | 377.08626 | 3 |
| 2388.03854 | 4 |  | B11 | 2 | 2388.03854 | 388.03854 | 4 |
| 2436.04182 | 5 |  | B11 | 2 | 2436.04182 | 436.04182 | 5 |
| 2379.0829 | 6 |  | B11 | 2 | 2379.0829 | 379.0829 | 6 |
| 2387.11521 | 7 |  | B11 | 2 | 2387.11521 | 387.11521 | 7 |
| 2341.10938 | 8 |  | B11 | 2 | 2341.10938 | 341.10938 | 8 |
| 2439.0762 | 9 |  | B11 | 2 | 2439.0762 | 439.0762 | 9 |
| 2165.03951 | 10 |  | B11 | 2 | 2165.03951 | 165.03951 | 10 |
| Data in columns H–O, the corresponding data actually stored in columns H–O in Excel; RT, the retention time period of the corresponding ions. |  |  |  |  |  |  |  |

| Table S7. Partial data in columns Q–X of “50%-ions-1” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Q | R | S | T | U | V | W | X |
| sample | RT | RT&m/z | m/z | Lookup |  | B11 | B12 |
| B11 | 2 | 2191.0191 | 191.0191 | 1 |  | 199850400 | 263609168 |
| B11 | 2 | 2133.01298 | 133.01298 | 2 |  | 97691736 | 95780192 |
| B11 | 2 | 2377.08626 | 377.08626 | 3 |  | 93077328 | 24648734 |
| B11 | 2 | 2388.03854 | 388.03854 | 4 |  | 65287576 | 1386305.4 |
| B11 | 2 | 2436.04182 | 436.04182 | 5 |  | 46817088 | 924253.8 |
| B11 | 2 | 2379.0829 | 379.0829 | 6 |  | 29050482 | 7320104 |
| B11 | 2 | 2387.11521 | 387.11521 | 7 |  | 18370674 | 48269912 |
| B11 | 2 | 2341.10938 | 341.10938 | 8 |  | 15779216 | 51243652 |
| B11 | 2 | 2439.0762 | 439.0762 | 9 |  | 14767779 | 20361876 |
| B11 | 2 | 2165.03951 | 165.03951 | 10 |  | 14701896 | 14865218 |
| Data in columns Q–X, the corresponding data actually stored in columns Q–X in Excel; Data in columns W and X, the corresponding ion intensity of samples B11 and B12 in sample group A; RT, the retention time period of the corresponding ions. |  |  |  |  |  |  |  |

| Table S8. Partial data in columns D–K of “50%-ions-2” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| D | E | F | G | H | I | J | K |
| m/z | Lookup |  | sample | RT | RT&m/z | m/z | Lookup |
| 191.0191 | 1 |  | B11 | 2 | 2191.0191 | 191.0191 | 1 |
| 133.01298 | 2 |  | B11 | 2 | 2133.01298 | 133.01298 | 2 |
| 377.08626 | 3 |  | B11 | 2 | 2377.08626 | 377.08626 | 3 |
| 388.03854 | 4 |  | B11 | 2 | 2388.03854 | 388.03854 | 4 |
| 436.04182 | 5 |  | B11 | 2 | 2436.04182 | 436.04182 | 5 |
| 379.0829 | 6 |  | B11 | 2 | 2379.0829 | 379.0829 | 6 |
| 387.11521 | 7 |  | B11 | 2 | 2387.11521 | 387.11521 | 7 |
| 341.10938 | 8 |  | B11 | 2 | 2341.10938 | 341.10938 | 8 |
| 439.0762 | 9 |  | B11 | 2 | 2439.0762 | 439.0762 | 9 |
| 165.03951 | 10 |  | B11 | 2 | 2165.03951 | 165.03951 | 10 |
| Data in columns D–K, the corresponding data actually stored in columns D–K in Excel; RT, the retention time period of the corresponding ions. |  |  |  |  |  |  |  |

| Table S9. Partial data in columns D–K of “50%-ions-2” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | N | O | P | Q | R | S | T |
| sample | RT | RT&m/z | m/z | Lookup |  | B11 | B12 |
| B11 | 2 | 2191.0191 | 191.0191 | 1 |  | 199850400 | 263609168 |
| B11 | 2 | 2133.01298 | 133.01298 | 2 |  | 97691736 | 95780192 |
| B11 | 2 | 2377.08626 | 377.08626 | 3 |  | 93077328 | 24648734 |
| B11 | 2 | 2388.03854 | 388.03854 | 4 |  | 65287576 | 1386305.4 |
| B11 | 2 | 2436.04182 | 436.04182 | 5 |  | 46817088 | 924253.8 |
| B11 | 2 | 2379.0829 | 379.0829 | 6 |  | 29050482 | 7320104 |
| B11 | 2 | 2387.11521 | 387.11521 | 7 |  | 18370674 | 48269912 |
| B11 | 2 | 2341.10938 | 341.10938 | 8 |  | 15779216 | 51243652 |
| B11 | 2 | 2439.0762 | 439.0762 | 9 |  | 14767779 | 20361876 |
| B11 | 2 | 2165.03951 | 165.03951 | 10 |  | 14701896 | 14865218 |
| Data in columns M–T, the corresponding data actually stored in columns M–T in Excel; Data in columns S and T, the corresponding ion intensity of samples B11 and B12 in sample group A; RT, the retention time period of the corresponding ions. |  |  |  |  |  |  |  |

| Table S10. Partial data in columns A–H of “50%-ions-3” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A | B | C | D | E | F | G | H |
| sample | RT | RT&m/z | m/z | Average ion intensity | Ion count |  | B11 |
| B11 | 2 | 2191.0191 | 191.0191 | 192791181.6 | 10 |  | 199850400 |
| B11 | 2 | 2133.01298 | 133.01298 | 76715062.8 | 10 |  | 97691736 |
| B11 | 2 | 2377.08626 | 377.08626 | 27693533.3 | 10 |  | 93077328 |
| B11 | 2 | 2388.03854 | 388.03854 | 257044947.6 | 10 |  | 65287576 |
| B11 | 2 | 2436.04182 | 436.04182 | 8437985.85 | 10 |  | 46817088 |
| B11 | 2 | 2379.0829 | 379.0829 | 8460423.85 | 10 |  | 29050482 |
| B11 | 2 | 2387.11521 | 387.11521 | 34364052.8 | 10 |  | 18370674 |
| B11 | 2 | 2341.10938 | 341.10938 | 30506079.6 | 10 |  | 15779216 |
| B11 | 2 | 2439.0762 | 439.0762 | 25084770.8 | 10 |  | 14767779 |
| B11 | 2 | 2165.03951 | 165.03951 | 17600173 | 10 |  | 14701896 |
| Data in columns A–H, the corresponding data actually stored in columns A–H in Excel; Data in H column, the corresponding ion intensity of sample B11 in sample group A; RT, the retention time period of the corresponding ions. |  |  |  |  |  |  |  |

| Table S11. Partial data in columns W–AD of “Comparison analysis of 80%-ions in group A and total ions in group B” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| W | X | Y | Z | AA | AB | AC | AD |
| sample | RT | RT&m/z | m/z | Average ion intensity | Ion count |  | Y11 |
| Y11 | 2 | 2191.01914 | 191.01914 | 210564570.4 | 10 |  | 124342440 |
| Y11 | 2 | 2133.01301 | 133.01301 | 70466663.2 | 10 |  | 35754848 |
| Y11 | 2 | 2387.1151 | 387.1151 | 31950919.2 | 10 |  | 34830604 |
| Y11 | 2 | 2341.10941 | 341.10941 | 28586072.2 | 10 |  | 29867574 |
| Y11 | 2 | 2245.04321 | 245.04321 | 21439323.8 | 10 |  | 21190170 |
| Y11 | 2 | 2439.08701 | 439.08701 | 21396873 | 10 |  | 15655547 |
| Y11 | 2 | 2195.05052 | 195.05052 | 18158462.5 | 10 |  | 14098031 |
| Y11 | 2 | 2333.06002 | 333.06002 | 8670677.15 | 10 |  | 10949601 |
| Y11 | 2 | 2377.08619 | 377.08619 | 19266075.4 | 10 |  | 10196250 |
| Y11 | 2 | 2192.02249 | 192.02249 | 14096941.35 | 10 |  | 8408463 |
| Data in columns W–AD, the corresponding data actually stored in columns W–AD in Excel; Data in AD column, the corresponding ion intensity of sample Y11 in sample group B; RT, the retention time period of the corresponding ions. |  |  |  |  |  |  |  |

| Table S12. Partial data in columns C–J of “Comparison analysis of 80%-ions in group A and total ions in group B” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| C | D | E | F | G | H | I | J |
| RT&m/z of group A | m/z of group A | Average ion intensity of group A | Ion count of group A | RT&m/z of group B | Average ion intensity of group B | Ion count of group B | Group A/Group B |
| 2191.0191 | 191.0191 | 192791181.6 | 10 | 2191.01914 | 210564570.4 | 10 | 0.916 |
| 2133.01298 | 133.01298 | 76715062.8 | 10 | 2133.01301 | 70466663.2 | 10 | 1.089 |
| 2377.08626 | 377.08626 | 27693533.3 | 10 | 2377.08619 | 19266075.4 | 10 | 1.437 |
| 2388.03854 | 388.03854 | 257044947.6 | 10 | 2388.03863 | 22672119.4 | 10 | 11.337 |
| 2436.04182 | 436.04182 | 8437985.85 | 10 | 2436.04198 | 1003042.72 | 10 | 8.412 |
| 2379.0829 | 379.0829 | 8460423.85 | 10 | 2379.08296 | 5969047.36 | 10 | 1.417 |
| 2387.11521 | 387.11521 | 34364052.8 | 10 | 2387.1151 | 31950919.2 | 10 | 1.076 |
| 2341.10938 | 341.10938 | 30506079.6 | 10 | 2341.10941 | 28586072.2 | 10 | 1.067 |
| 2439.0762 | 439.0762 | 25084770.8 | 10 | 2439.07677 | 15141608.61 | 10 | 1.657 |
| 2165.03951 | 165.03951 | 17600173 | 10 | 2165.03955 | 10301303.75 | 10 | 1.709 |
| Data in columns C–J, the corresponding data actually stored in columns C–J in Excel. |  |  |  |  |  |  |  |

| Table S13. Partial data in columns G–N of “Comparison analysis of 80%-ions in group A and total ions in group B” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| G | H | I | J | K | L | M | N |
| RT&m/z of group B | Average ion intensity of group B | Ion count of group B | Group A/Group B |  | Y11 | Y12 | Y13 |
| 2191.01914 | 210564570.4 | 10 | 0.916 |  | 124342440 | 38705728 | 175754144 |
| 2133.01301 | 70466663.2 | 10 | 1.089 |  | 35754848 | 43973100 | 72519656 |
| 2377.08619 | 19266075.4 | 10 | 1.437 |  | 10196250 | 16242241 | 13190491 |
| 2388.03863 | 22672119.4 | 10 | 11.337 |  | 633989 | 117579680 | 80080584 |
| 2436.04198 | 1003042.72 | 10 | 8.412 |  | 52678.4 | 3405208 | 1886930.8 |
| 2379.08296 | 5969047.36 | 10 | 1.417 |  | 3035182.8 | 4778093 | 4079139.5 |
| 2387.1151 | 31950919.2 | 10 | 1.076 |  | 34830604 | 57255320 | 24669746 |
| 2341.10941 | 28586072.2 | 10 | 1.067 |  | 29867574 | 42099112 | 19480286 |
| 2439.07677 | 15141608.61 | 10 | 1.657 |  | 3984781.8 | 3122711.3 | 24663648 |
| 2165.03955 | 10301303.75 | 10 | 1.709 |  | 5951588 | 9331728 | 5117855.5 |
| Data in columns G–N, the corresponding data actually stored in columns G–N in Excel; Data in columns L, M and N, the corresponding ion intensity of samples Y11, Y12 and Y13 in sample group B. |  |  |  |  |  |  |  |

| Table S14. Partial data in columns A, C, J, K, M, O, V, W of “Find duplicate ions” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A | C | J | K | M | O | V | W |
| Samples of group A | RT&m/z of group A | Group A/Group B | m/z of group B | Samples of group B | RT&m/z of group B | Group B/Group A | m/z of group A |
| B11 | 2191.0191 | 0.916 | 191.01914 | Y11 | 2191.01914 | 1.092 | 191.0191 |
| B11 | 2133.01298 | 1.089 | 133.01301 | Y11 | 2133.01301 | 0.919 | 133.01298 |
| B11 | 2377.08626 | 1.437 | 377.08619 | Y11 | 2387.1151 | 0.930 | 387.11521 |
| B11 | 2388.03854 | 11.337 | 388.03863 | Y11 | 2341.10941 | 0.937 | 341.10938 |
| B11 | 2436.04182 | 8.412 | 436.04198 | Y11 | 2245.04321 | 1.308 | 245.04326 |
| B11 | 2379.0829 | 1.417 | 379.08296 | Y11 | 2439.08701 | 1.253 | 439.08704 |
| B11 | 2387.11521 | 1.076 | 387.1151 | Y11 | 2195.05052 | 1.097 | 195.05044 |
| B11 | 2341.10938 | 1.067 | 341.10941 | Y11 | 2333.06002 | 1.085 | 333.0599 |
| B11 | 2439.0762 | 1.657 | 439.07677 | Y11 | 2377.08619 | 0.696 | 377.08626 |
| B11 | 2165.03951 | 1.709 | 165.03955 | Y11 | 2192.02249 | 1.097 | 192.02248 |
| Data in columns A, C, J, K, M, O, V and W, the corresponding data actually stored in columns A, C, J, K, M, O, V and W in Excel. |  |  |  |  |  |  |  |

| Table S15. Partial data in columns A–D and I–L of “Differential ions (A vs. B)” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A | B | C | D | I | J | K | L |
| Samples of group A | RT | RT&m/z of group A | RT&No&m/z of group A | Average ion intensity of group B | Ion count of group B | Group A/Group B | m/z of group B |
| 11 | 16 | 16100.93212 | 1611100.9321 | 3322783.66 | 10 | 0.630 | 100.93216 |
| 11 | 15 | 15100.93214 | 1511100.9321 | 1588003.1 | 10 | 0.607 | 100.93217 |
| 11 | 18 | 18100.93212 | 1811100.9321 | 4391287.48 | 10 | 0.722 | 100.93217 |
| 11 | 14 | 14100.93213 | 1411100.9321 | 503479.15 | 10 | 0.459 | 100.93218 |
| 11 | 13 | 13100.93215 | 1311100.9322 | 86392.06 | 10 | 0.135 | 100.93219 |
| 11 | 19 | 19100.93211 | 1911100.9321 | 2381040.5 | 10 | 0.832 | 100.93219 |
| 11 | 17 | 17100.93213 | 1711100.9321 | 3573336.22 | 10 | 0.654 | 100.9322 |
| 11 | 6 | 6101.02293 | 611101.02293 | 113930.62 | 10 | 0.746 | 101.02294 |
| 11 | 3 | 3101.0229 | 311101.0229 | 131499 | 10 | 0.561 | 101.02295 |
| 11 | 4 | 4101.02292 | 411101.02292 | 125973.7 | 10 | 0.622 | 101.02295 |
| Data in columns A–D and I–L, the corresponding data actually stored in columns A–D and I–L in Excel; RT, the retention time period of the corresponding ions. |  |  |  |  |  |  |  |

| Table S16. Partial data in columns A–E of “Score 50%-ions individually” sub-table. |  |  |  |  |
| --- | --- | --- | --- | --- |
| A | B | C | D | E |
| sample | RT | RT&m/z | m/z | Average ion intensity |
| B11 | 2 | 2191.0191 | 191.0191 | 192791181.6 |
| B11 | 2 | 2133.01298 | 133.01298 | 76715062.8 |
| B11 | 2 | 2377.08626 | 377.08626 | 27693533.3 |
| B11 | 2 | 2388.03854 | 388.03854 | 257044947.6 |
| B11 | 2 | 2436.04182 | 436.04182 | 8437985.85 |
| B11 | 2 | 2379.0829 | 379.0829 | 8460423.85 |
| B11 | 2 | 2387.11521 | 387.11521 | 34364052.8 |
| B11 | 2 | 2341.10938 | 341.10938 | 30506079.6 |
| B11 | 2 | 2439.0762 | 439.0762 | 25084770.8 |
| B11 | 2 | 2165.03951 | 165.03951 | 17600173 |
| Data in columns A–E, the corresponding data actually stored in columns A–E in Excel; RT, the retention time period of the corresponding ions. |  |  |  |  |

| Table S17. Partial data in columns F–M of “Score 50%-ions individually” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| F | G | H | I | J | K | L | M |
| Uniqueness processing | Count | Average ion intensity of all periods | Relative ion intensity | Score the ion intensity | Score the ion count | Score the relative ion intensity | Total score |
| 191.0191 | 18 | 11586878.58 | 16.64 | 10 | 1 | 10 | 100 |
| 133.01298 | 18 | 4489292.691 | 17.09 | 10 | 1 | 10 | 100 |
| 377.08626 | 12 | 2400152.291 | 11.54 | 10 | 1 | 10 | 100 |
| 388.03854 | 8 | 33149170.65 | 7.75 | 10 | 2 | 10 | 200 |
| 436.04182 | 4 | 2169047.08 | 3.89 | 10 | 3 | 3 | 90 |
| 379.0829 | 6 | 1442834.634 | 5.86 | 10 | 2 | 10 | 200 |
| 387.11521 | 15 | 2666878.506 | 12.89 | 10 | 1 | 10 | 100 |
| 341.10938 | 14 | 2456713.711 | 12.42 | 10 | 1 | 10 | 100 |
| 439.0762 | 4 | 6366029.241 | 3.94 | 10 | 3 | 3 | 90 |
| 165.03951 | 14 | 1299906.553 | 13.54 | 10 | 1 | 10 | 100 |
| Data in columns F–M, the corresponding data actually stored in columns F–M in Excel |  |  |  |  |  |  |  |

| Table S18. Partial data in columns A–F of “Average ion score” sub-table. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| A | B | C | D | E | F |
| sample (No) | RT | RT&m/z | No&m/z | m/z | Intensity |
| 11 | 2 | 2191.0191 | 11191.0191 | 191.0191 | 199850400 |
| 11 | 2 | 2133.01298 | 11133.01298 | 133.01298 | 97691736 |
| 11 | 2 | 2377.08626 | 11377.08626 | 377.08626 | 93077328 |
| 11 | 2 | 2388.03854 | 11388.03854 | 388.03854 | 65287576 |
| 11 | 2 | 2436.04182 | 11436.04182 | 436.04182 | 46817088 |
| 11 | 2 | 2379.0829 | 11379.0829 | 379.0829 | 29050482 |
| 11 | 2 | 2387.11521 | 11387.11521 | 387.11521 | 18370674 |
| 11 | 2 | 2341.10938 | 11341.10938 | 341.10938 | 15779216 |
| 11 | 2 | 2439.0762 | 11439.0762 | 439.0762 | 14767779 |
| 11 | 2 | 2165.03951 | 11165.03951 | 165.03951 | 14701896 |
| Data in columns A–F, the corresponding data actually stored in columns A–F in Excel; RT, the retention time period of the corresponding ions. |  |  |  |  |  |

| Table S19. Partial data in columns H–O of “Average ion score” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| H | I | J | K | L | M | N | O |
| Uniqueness processing of one sample | Count of one sample | Average ion intensity of all periods of one sample | Relative ion intensity | Score the ion intensity | Score the ion count | Score the relative ion intensity | Total score |
| 11191.0191 | 18 | 11907370.66 | 16.78 | 10 | 1 | 10 | 100 |
| 11133.01298 | 16 | 6373024.831 | 15.33 | 10 | 1 | 10 | 100 |
| 11377.08626 | 11 | 8581800.982 | 10.85 | 10 | 1 | 10 | 100 |
| 11388.03854 | 5 | 13376281.24 | 4.88 | 10 | 2 | 5 | 100 |
| 11436.04182 | 5 | 9647604.52 | 4.85 | 10 | 2 | 5 | 100 |
| 11379.0829 | 5 | 5852192.76 | 4.96 | 10 | 2 | 5 | 100 |
| 11387.11521 | 15 | 1594194.753 | 11.52 | 10 | 1 | 10 | 100 |
| 11341.10938 | 16 | 1204500.75 | 13.10 | 10 | 1 | 10 | 100 |
| 11439.0762 | 3 | 4993901.1 | 2.96 | 10 | 3 | 2 | 60 |
| 11165.03951 | 12 | 1256044.7 | 11.70 | 10 | 1 | 10 | 100 |
| Data in columns H–O, the corresponding data actually stored in columns H–O in Excel |  |  |  |  |  |  |  |

| Table S20. Partial data in columns Q–U of “Average ion score” sub-table. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Q | R | S | T | U |
| Uniqueness processing of all sample | Count of all sample | Total score of all sample | Average ion score | Score difference |
| 2191.0191 | 10 | 1000.00 | 100 | 0 |
| 2133.01298 | 10 | 1000.00 | 100 | 0 |
| 2377.08626 | 10 | 1400.00 | 140 | -40 |
| 2388.03854 | 10 | 1290.00 | 129 | -29 |
| 2436.04182 | 10 | 912.00 | 91 | 9 |
| 2379.0829 | 10 | 1380.00 | 138 | -38 |
| 2387.11521 | 10 | 1000.00 | 100 | 0 |
| 2341.10938 | 10 | 1000.00 | 100 | 0 |
| 2439.0762 | 10 | 810.00 | 81 | -21 |
| 2165.03951 | 10 | 1000.00 | 100 | 0 |
| Data in columns Q–U, the corresponding data actually stored in columns Q–U in Excel. |  |  |  |  |

| Table S21. Partial data in columns A–F of “Summarize ions score” sub-table. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| A | B | C | D | E | F |
| sample | RT | RT&m/z | m/z | Individual ion score | Average ion score |
| B11 | 2 | 2191.0191 | 191.0191 | 100 | 100 |
| B11 | 2 | 2133.01298 | 133.01298 | 100 | 100 |
| B11 | 2 | 2377.08626 | 377.08626 | 100 | 140 |
| B11 | 2 | 2388.03854 | 388.03854 | 200 | 129 |
| B11 | 2 | 2436.04182 | 436.04182 | 90 | 91 |
| B11 | 2 | 2379.0829 | 379.0829 | 200 | 138 |
| B11 | 2 | 2387.11521 | 387.11521 | 100 | 100 |
| B11 | 2 | 2341.10938 | 341.10938 | 100 | 100 |
| B11 | 2 | 2439.0762 | 439.0762 | 90 | 81 |
| B11 | 2 | 2165.03951 | 165.03951 | 100 | 100 |
| Data in columns A–F, the corresponding data actually stored in columns A–F in Excel; RT, the retention time period of the corresponding ions. |  |  |  |  |  |

| Table S22. Partial data in columns C–J in table “Isotope ions identification of group A”. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| C | D | E | F | G | H | I | J |
| RT&m/z | RT&No&m/z | m/z | Intensity |  | RT&No&(M+1) | RT&No&(M+2) | RT&No&(M+3) |
| 2191.0191 | 211191.0191 | 191.0191 | 199850400 |  | 211192.0225 | 211193.0258 | 211194.0292 |
| 2133.01298 | 211133.013 | 133.01298 | 97691736 |  | 211134.0163 | 211135.0197 | 211136.023 |
| 2377.08626 | 211377.0863 | 377.08626 | 93077328 |  | 211378.0896 | 211379.093 | 211380.0963 |
| 2388.03854 | 211388.0385 | 388.03854 | 65287576 |  | 211389.0419 | 211390.0452 | 211391.0486 |
| 2436.04182 | 211436.0418 | 436.04182 | 46817088 |  | 211437.0452 | 211438.0485 | 211439.0519 |
| 2379.0829 | 211379.0829 | 379.0829 | 29050482 |  | 211380.0863 | 211381.0896 | 211382.093 |
| 2387.11521 | 211387.1152 | 387.11521 | 18370674 |  | 211388.1186 | 211389.1219 | 211390.1253 |
| 2341.10938 | 211341.1094 | 341.10938 | 15779216 |  | 211342.1127 | 211343.1161 | 211344.1194 |
| 2439.0762 | 211439.0762 | 439.0762 | 14767779 |  | 211440.0796 | 211441.0829 | 211442.0863 |
| 2165.03951 | 211165.0395 | 165.03951 | 14701896 |  | 211166.0429 | 211167.0462 | 211168.0496 |
| Data in columns C–J, the corresponding data actually stored in columns C–J in Excel. |  |  |  |  |  |  |  |

| Table S23. Partial data in columns L–R in table “Isotope ions identification of group A”. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| L | M | N | O | P | Q | R |
| RT&No&(M+1) | RT&No&(M+2) | RT&No&(M+3) |  | M+1 Intensity | M+2 Intensity | M+3 Intensity |
| 211192.0225 | #N/A | #N/A |  | 13000539 | #N/A | #N/A |
| 211134.0163 | 211135.0196 | #N/A |  | 4148174 | 13557.5 | #N/A |
| 211378.0896 | #N/A | #N/A |  | 12359043 | #N/A | #N/A |
| 211389.0421 | #N/A | #N/A |  | 8145990.5 | #N/A | #N/A |
| 211437.0451 | #N/A | #N/A |  | 6537205 | #N/A | #N/A |
| 211380.0864 | 211381.0879 | 211382.0917 |  | 3559229.8 | 718604.3 | 23735.5 |
| 211388.1186 | 211389.1201 | #N/A |  | 2564258.3 | 302664.8 | #N/A |
| 211342.1129 | 211343.1144 | #N/A |  | 1995201.3 | 118380 | #N/A |
| 211440.0796 | #N/A | #N/A |  | 1979105.9 | #N/A | #N/A |
| 211166.0429 | #N/A | #N/A |  | 728409 | #N/A | #N/A |
| Data in columns L–R, the corresponding data actually stored in columns L–R in Excel. |  |  |  |  |  |  |

| Table S24. Partial data in columns T–Z in table “Isotope ions identification of group A”. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| T | U | V | O | X | Y | Z |
| M/M+1 | M+1/M+2 | M+2/M+3 |  | M+1 | M+2 | M+3 |
| 15.37247033 | #N/A | #N/A |  | 1 | #N/A | #N/A |
| 23.55053959 | 305.9689471 | #N/A |  | 1 | 0 | #N/A |
| 7.531111268 | #N/A | #N/A |  | 1 | #N/A | #N/A |
| 8.014688453 | #N/A | #N/A |  | 1 | #N/A | #N/A |
| 7.161636816 | #N/A | #N/A |  | 1 | #N/A | #N/A |
| 8.162013591 | 4.952975928 | 30.27550715 |  | 1 | 1 | 1 |
| 7.164127732 | 8.472271305 | #N/A |  | 1 | 1 | #N/A |
| 7.90858346 | 16.85420933 | #N/A |  | 1 | 1 | #N/A |
| 7.461843755 | #N/A | #N/A |  | 1 | #N/A | #N/A |
| 20.18357269 | #N/A | #N/A |  | 1 | #N/A | #N/A |
| Data in columns T–Z, the corresponding data actually stored in columns T–Z in Excel; Data in columns T–V, ratios of the different ion intensity; Data in columns X–Z, isotope ion judgment (if the value is 1, the ion is isotope). |  |  |  |  |  |  |

| Table S25. Partial data in columns N–U of “Differential ions (A vs. B)” sub-table. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| N | O | P | Q | R | S | T | U |
| Individual score | Average score | P value | M+1 | M+2 | M+3 |  | B11 |
| 20 | 22.0 | 0.000407512 | #N/A | #N/A | #N/A |  | 1959128.5 |
| 9 | 9.4 | 0.000405872 | #N/A | #N/A | #N/A |  | 831913.8 |
| 40 | 31.9 | 0.000235491 | #N/A | #N/A | #N/A |  | 3210438 |
| 8 | 6.8 | 0.000134411 | #N/A | #N/A | #N/A |  | 185775.8 |
| 5 | 1.9 | 0.011851777 | #N/A | #N/A | #N/A |  | 3511.7 |
| 20 | 15.5 | 0.027859329 | #N/A | #N/A | #N/A |  | 2221152.5 |
| 20 | 24.0 | 0.000369377 | #N/A | #N/A | #N/A |  | 2154610 |
| 6 | 6.2 | 0.040559302 | #N/A | #N/A | #N/A |  | 93520.9 |
| 6 | 5.0 | 0.003393242 | #N/A | #N/A | #N/A |  | 77314.1 |
| 6 | 5.5 | 0.002741314 | #N/A | #N/A | #N/A |  | 97882.9 |
| Data in columns N–U, the corresponding data actually stored in columns N–U in Excel. |  |  |  |  |  |  |  |

| Table S26. Partial data in columns A–H in table “Standard format raw data of group A”. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A | B | C | D | E | F | G | H |
| Sample (No) | RT | RT&m/z | m/z | Intensity |  | Sample (No) | RT |
| 11 | 2 | 2191.0191 | 191.0191 | 199850400 |  | 12 | 2 |
| 11 | 2 | 2133.01298 | 133.01298 | 97691736 |  | 12 | 2 |
| 11 | 2 | 2377.08626 | 377.08626 | 93077328 |  | 12 | 2 |
| 11 | 2 | 2388.03854 | 388.03854 | 65287576 |  | 12 | 2 |
| 11 | 2 | 2436.04182 | 436.04182 | 46817088 |  | 12 | 2 |
| 11 | 2 | 2379.0829 | 379.0829 | 29050482 |  | 12 | 2 |
| 11 | 2 | 2387.11521 | 387.11521 | 18370674 |  | 12 | 2 |
| 11 | 2 | 2341.10938 | 341.10938 | 15779216 |  | 12 | 2 |
| 11 | 2 | 2439.0762 | 439.0762 | 14767779 |  | 12 | 2 |
| 11 | 2 | 2165.03951 | 165.03951 | 14701896 |  | 12 | 2 |
| Data in columns A–H, the corresponding data actually stored in columns A–H in Excel. |  |  |  |  |  |  |  |